Þ

Product Overview

The Platular® Smart Hybrid is a high-performance, fully welded plate heat exchanger designed to handle dirty, viscous, and complex fluids in challenging industrial applications. Its unique multi-pass, counterflow design and openable construction make it an ideal solution for industries requiring maximum thermal efficiency, minimal fouling, and easy maintenance.

3 Key Features

- Fully welded, patented plate construction

- Easy mechanical cleaning with openable design

- Low pressure drop with high thermal transfer

Technical Specifications

| Specification | Details |
| --- | --- |
| Design Type | Fully welded plate, counterflow, multi-pass |
| Cleaning Access | Openable “visitable” construction with no internal flat gaskets |
| Stream Options | Five custom stream geometries for optimal hydraulic/thermal performance |
| Maintenance | Allows mechanical cleaning without disassembly |
| Operating Fluids | Dirty, viscous, and fouling-prone fluids |
| Pressure Drop | Engineered for low ΔP with turbulent flow paths |
| Application Modes | Liquid-liquid, condensation, evaporation, gas-gas, and more |

Applications & Industry Use-Cases

- Chemical and petrochemical industries

- Fine chemical and pharmaceutical production

- Food and beverage processing

- District heating and HVAC

- Gas-to-gas heat recovery

- Mining and pulp & paper operations

- Energy recovery systems

Media Compatibility

- Sludges, slurries, and heavily contaminated fluids

- Steam, VOC vapors, and condensates

- Clean gas, air, or water in high-efficiency applications

Capabilities

- Handles extreme fouling and cleaning cycles

- Delivers high thermal efficiency with compact footprint

- Designed for long-duration, low-maintenance operations

- Suitable for high-viscosity or particulate-laden streams

Optional Accessories & Variants

- Type X: Optimized for dirty fluids with minimal fouling

- Type IJS: Compact design used since the 1960s

- Type PCV: High-pressure version for district heating applications

- Immersed Designs: For use inside distillation columns or tanks