### EVR In-line Rubber Duckbill Check Valve – Series CPI-IN

#### Product Overview

The EVR CPI-IN In-line Rubber Duckbill Check Valve is a compact, high-performance valve designed for direct insertion into pipelines. It delivers reliable, silent, and maintenance-free backflow prevention in pressurized systems without the use of mechanical parts. Its streamlined design enables easy integration into pipe runs while offering consistent performance in handling abrasive, corrosive, or debris-laden flow media.

#### 3 Key Features

- Compact, in-line design

- Silent, leak-free backflow prevention

- Withstands abrasive flow media

#### Technical Specifications

- Sizes: DN 50 to DN 900 (2” to 36”)

- Connection Type: Slip-in, clamped, or glued into pipe ends

- Body Material: High-grade elastomers (EPDM, Neoprene, Nitrile, Natural Rubber)

- Operating Pressure: Up to 6 bar

- Back Pressure Sealing: Tight shut-off without reverse flow

- Opening Pressure: As low as 25 mm H₂O (customizable)

- Installation Orientation: Horizontal or vertical

- Maintenance: Zero maintenance required

#### Applications & Industry Use-Cases

- Municipal water systems

- Industrial effluent lines

- Drainage and stormwater pipes

- Chemical process pipelines

- Irrigation and agriculture lines

#### Media Compatibility

- Potable and raw water

- Process water with particulates

- Wastewater and stormwater

- Chemical fluids

- Seawater and brine

#### Capabilities

- Compact footprint ideal for confined spaces

- Opens under minimal pressure

- Prevents water hammer and backflow surges

- Customizable elastomer materials for fluid compatibility

#### Optional Accessories

- Pipe clamps or mounting sleeves

- Pressure monitoring ports

- Protective inner linings

- Customized sizes and elastomer formulations