EVR Jacket Series Rubber Duckbill Check Valve – Series CPJ

Product Overview

The EVR CPJ Jacket Series Rubber Duckbill Check Valve is engineered for demanding environments that require secure backflow prevention combined with external jacketed reinforcement. Designed to withstand high pressures and flow rates, this valve ensures reliable operation in aggressive and heavy-duty media applications, while maintaining a full-port, low-pressure drop design.

3 Key Features

- Heavy-duty jacketed construction

- Handles high-pressure flow conditions

- Self-energizing, zero backflow design

Technical Specifications

- Sizes: DN 50 to DN 2000 (2” to 80”)

- Connection Type: Flanged or slip-on end connections

- Body Material: Reinforced elastomers with external jacket (EPDM, Neoprene, Nitrile, Natural Rubber)

- Jacket Material: Steel or ductile iron for added rigidity

- Operating Pressure: Up to 10 bar

- Back Pressure Sealing: Drip-tight closure under low reverse pressure

- Opening Pressure: As low as 25 mm H₂O

- Installation Orientation: Horizontal or vertical

Applications & Industry Use-Cases

- High-pressure sewage and stormwater systems

- Industrial effluent treatment plants

- Pump stations and discharge outfalls

- Mining and slurry pipelines

- Desalination and marine discharge

Media Compatibility

- Raw sewage and sludge

- Chemical effluents

- Stormwater and silt-heavy water

- Slurries and abrasive fluids

- Seawater and brackish water

Capabilities

- Engineered for extended life in high-wear applications

- Resists clogging, corrosion, and marine growth

- Operates under fluctuating flow conditions

- Full unimpeded flow when open

Optional Accessories

- Bolt-on retaining rings or flanges

- Flow diffusers or vortex breakers

- Anti-fouling coatings

- Custom thickness and reinforcement levels