### EVR Pinch Valve – Series AJ

#### Product Overview

The EVR Pinch Valve – Series AJ is a rugged, full-bore valve solution designed for handling abrasive, corrosive, and slurry-type media. Built with a heavy-duty elastomer sleeve as the only wetted part, it provides reliable shutoff and throttling with zero clogging. The Series AJ is ideal for industries requiring long service life and minimal maintenance in demanding flow conditions.

#### 3 Key Features

- Heavy-duty elastomer sleeve

- Full-bore, unobstructed flow

- Low maintenance, long service life

#### Technical Specifications

- Sizes: DN 25 to DN 1200 (1” to 48”)

- End Connections: Flanged or wafer-style

- Body Material: Cast iron, ductile iron, carbon steel, stainless steel

- Sleeve Material: Natural Rubber, EPDM, Neoprene, Nitrile, Hypalon, Viton

- Actuation Options: Manual handwheel, pneumatic, hydraulic, or electric actuator

- Pressure Rating: Up to 10 bar (depending on size and sleeve)

- Temperature Range: -20°C to +120°C (higher with special sleeves)

#### Applications & Industry Use-Cases

- Wastewater treatment and sludge lines

- Mining and mineral processing

- Chemical dosing systems

- Pulp and paper slurry handling

- Food and beverage viscous fluids

#### Media Compatibility

- Slurries, pastes, and viscous fluids

- Corrosive chemicals and acids

- Abrasive particles and solids-laden media

#### Capabilities

- Self-cleaning elastomer sleeve design

- Tight shut-off with no leakage

- No mechanical seats, glands, or packing required

- Customizable for abrasive and corrosive duty

#### Optional Accessories

- Position indicators

- Limit switches and solenoids

- Pneumatic or electric automation kits

- Wear-resistant sleeves for extended life