Komax Direct Injection Steam Heater

Product Overview
The Komax Direct Injection Steam Heater provides instantaneous and uniform heating by injecting steam directly into the process fluid. Its proprietary Equalizer™ mixing elements ensure complete condensation of steam without hammering, making it ideal for high-volume heating in industrial and municipal systems.

3 Key Features

- Direct steam-to-liquid contact

- Equalizer™ static mixing for uniform heat

- No scaling or fouling

Technical Specifications

- Material: Carbon steel or stainless steel

- Steam Pressure Range: Up to 200 psi

- Temperature Rise: Up to 160°F (71°C)

- Sizes: 2" to 20" pipe diameter

- Design Standards: ASME and ANSI compliant

- Connections: Flanged or custom

Applications & Industry Use-Cases

- Municipal sludge heating

- Industrial process water heating

- Food and beverage water systems

- Pulp and paper mill systems

- Tank filling lines

Media Compatibility

- Water and wastewater

- Sludge and slurry

- Non-corrosive industrial fluids

Capabilities

- Rapid temperature increase

- No moving parts—low maintenance

- Reduces energy and space requirements

Optional Accessories

- Flow control valves

- Temperature monitoring systems

- Skid-mounted or inline configurations

- Steam traps and condensate drains