### Komax Klean-Wall Heat Exchanger – Sludge to Water

Product Overview
The Komax Klean-Wall Heat Exchanger is specifically engineered for handling high-viscosity and sludge-like fluids in wastewater and industrial processes. With a unique design that minimizes fouling and clogging, this heat exchanger provides maximum thermal transfer efficiency and continuous operation, even with the most demanding sludge-to-water applications.

3 Key Features

- Non-clogging helical design

- Optimized for sludge media

- High-efficiency heat transfer

Technical Specifications

- Construction: Heavy-duty stainless steel with anti-fouling Klean-Wall technology

- Sizes Available: Custom-engineered to application

- Media Compatibility: Raw sludge, digested sludge, biosolids, and water

- Design Standards: ASME compliant; customizable to site needs

- Temperature Range: Up to 350°F (176°C)

- Pressure Rating: Up to 150 psi

Applications & Industry Use-Cases

- Municipal and industrial wastewater treatment

- Sludge pre-heating before digestion

- Thermal recovery in biosolids processing

- Food and beverage waste handling

Media Compatibility

- Thick sludges

- Slurries

- High-viscosity sludge streams

Capabilities

- Maintains consistent temperature differentials

- Reduces maintenance downtime with anti-fouling surfaces

- Enhances energy efficiency in treatment plants

Optional Accessories

- Temperature & pressure gauges

- Skid-mounted packages

- CIP (Clean-In-Place) connections

- Insulated housing