### Komax PVC Static Mixer

Product Overview
The Komax PVC Static Mixer is a compact, corrosion-resistant mixing solution ideal for low to moderate flow rates and applications requiring cost-effective, chemical-resistant equipment. Designed with Komax’s helical motionless mixing elements, it delivers precise blending of liquids and gases in a variety of process environments.

3 Key Features

- Corrosion-resistant PVC body

- Lightweight and compact

- Ideal for chemical dosing

Technical Specifications

- Material: PVC (Polyvinyl Chloride)

- Size Range: ½” to 4” diameter

- Connections: Threaded or flanged ends

- Operating Pressure: Up to 150 psi

- Temperature Range: Up to 60°C (140°F)

- Element Type: Komax triple-action helical mixing

Applications & Industry Use-Cases

- Water & wastewater chemical dosing

- Chlorine or pH adjustment

- Pool and spa water treatment

- Laboratory or pilot-scale blending

- Food and beverage pre-treatment

Media Compatibility

- Acids and caustics

- Water, brine, and light slurries

- Disinfectants and neutralizers

- Industrial chemicals

Capabilities

- Low pressure drop

- Excellent chemical compatibility

- Efficient mixing in short lengths

- Easy to install and maintain

Optional Accessories

- Mounting brackets

- Injection ports

- Custom inlet/outlet fittings

- Transparent PVC housing for flow observation