### Komax Sludge Mixer

Product Overview
The Komax Sludge Mixer is a heavy-duty in-line static mixer built for efficient blending of biosolids, polymer, and thick sludge in municipal and industrial wastewater treatment processes. It ensures rapid and uniform polymer activation to enhance dewatering efficiency and reduce chemical consumption.

3 Key Features

- No moving parts, zero maintenance

- Optimized for high-viscosity sludge

- Uniform polymer distribution

Technical Specifications

- Construction: Stainless steel, carbon steel, and specialty alloys

- Line Sizes: 4" to 36"+

- Design Pressure: Up to 150 psi (higher on request)

- Mixing Elements: Triple-action static design with helical baffling

- Connections: Flanged or custom options

- Flow Rates: From 100 GPM to 10,000+ GPM

Applications & Industry Use-Cases

- Municipal wastewater treatment plants

- Industrial sludge processing

- Sludge dewatering systems

- Polymer dosing and activation

Media Compatibility

- Thickened and digested sludge

- Emulsion and dry polymers

- Slurries, biosolids, and organic matter

Capabilities

- Prevents over/under polymer dosing

- Boosts dewatering performance

- Low energy consumption

- Compact footprint, easy integration

Optional Accessories

- Polymer injection quills

- Sample ports

- Flow meters and RTD sensors

- Sight glasses for visual verification