### Komax Static Channel Mixer

Product Overview
The Komax Static Channel Mixer is a high-efficiency open channel mixing solution designed for water, wastewater, and industrial applications. It features Komax’s proprietary non-clogging triple-action mixing elements, ideal for high-flow, gravity-fed systems where inline mixing is not practical.

3 Key Features

- Open channel mixing design

- Non-clogging elements

- Low head loss system

Technical Specifications

- Material: FRP, stainless steel, PVC, carbon steel

- Sizes: Custom fabricated for channel widths

- Installation: Drop-in or anchored to channel floor

- Flow Rate Range: From small plant flows to >100 MGD

- Element Type: Triple-action helical mixing

- Maintenance: Minimal, no moving parts

Applications & Industry Use-Cases

- Municipal water & wastewater treatment

- Chemical dosing in channels

- Open flume chlorination or pH adjustment

- Retrofit into existing treatment plants

- Sludge mixing in treatment lagoons

Media Compatibility

- Potable water

- Wastewater (raw or treated)

- Slurries and sludge

- Neutralizing agents and disinfectants

Capabilities

- Full channel width mixing

- Uniform distribution of additives

- Corrosion-resistant and durable

- Easy drop-in retrofit for existing channels

Optional Accessories

- Custom channel support structures

- Flow measurement integration

- Anti-corrosion coatings

- Portable removable models for field trials