Komax Static Mixer – Wafer

Product Overview
The Komax Wafer Static Mixer is a compact, low-weight, and cost-effective inline mixing solution designed for applications with limited space and high performance requirements. It provides efficient blending with minimal pressure drop and no moving parts, making it ideal for water, wastewater, and chemical process industries.

3 Key Features

- Ultra-compact wafer design

- High-efficiency mixing

- Low-pressure drop

Technical Specifications

- Material: Carbon Steel, 304/316 Stainless Steel, or custom alloys

- Sizes: 2" to 60" (larger upon request)

- Connection: ANSI/ASME flanges (or custom)

- Pressure Rating: Up to 300 PSI

- Temperature Range: -50°C to 250°C

- Element Type: Komax non-clogging helical mixing elements

Applications & Industry Use-Cases

- Polymer blending in water treatment

- Chlorine and chemical dosing

- Neutralization and pH control

- Cooling water mixing

- Compact installations in retrofit projects

Media Compatibility

- Potable and wastewater

- Industrial chemicals

- Acids, bases, and slurries

Capabilities

- Lightweight for easy handling and installation

- Maintains high mixing efficiency in tight spaces

- Reduces footprint without sacrificing performance

- Compatible with a wide range of fluids and pipe configurations

Optional Accessories

- Removable element cartridges

- Flow straighteners

- Monitoring ports

- Coatings for aggressive media