### Monitor Capacitance Probe

Product Overview:
The Monitor Capacitance Probe offers accurate and dependable point level detection for powders, granules, and liquids. Utilizing RF capacitance technology, it ensures consistent performance in challenging applications, including those with build-up, vibration, or varying dielectric properties.

3 Key Features:

- Reliable level detection in challenging media

- Configurable for high or low level detection

- Advanced immunity to build-up and false signals

Technical Specifications:

- Sensing Technology: RF Capacitance

- Probe Types: Rigid, flexible, cable, and sanitary

- Power Supply: 24 VDC or 90–260 VAC

- Output: Relay SPDT or DPDT

- Process Temp: Up to 260°C

- Pressure Rating: Up to 20 bar

Applications & Industry Use-Cases:

- Powder and bulk solids storage silos

- Liquids and slurries in tanks or hoppers

- Food, chemical, plastics, and pharmaceutical industries

Media Compatibility:

- Powders, granules, liquids, slurries, and pastes

Capabilities:

- Detects presence or absence of material

- Immune to material coating and condensation

- Easy calibration with no moving parts

Optional Accessories:

- Extension couplings

- Quick-connect fittings

- Remote electronics for high-temp applications