### Monitor DUST ALARM

Product Overview:
The Monitor Dust Alarm offers reliable, real-time detection of particulate emissions from dust collection systems. Designed to prevent excessive emissions and minimize environmental compliance risks, the Dust Alarm helps operators act quickly when filter failures or leaks occur.

3 Key Features:

- Real-time particulate monitoring

- No moving parts; low maintenance

- Easy integration with plant control systems

Technical Specifications:

- Detection Method: Triboelectric

- Power Supply: 24 VDC or 90–260 VAC

- Output: Relay and analog (optional)

- Operating Temp: Up to 260°C with appropriate sensor

- Housing: NEMA 4X / IP66

Applications & Industry Use-Cases:

- Baghouse or dust collector emissions monitoring

- Environmental compliance for cement, asphalt, steel, grain, and power plants

Media Compatibility:

- Dry particulates such as cement dust, wood dust, powders, fly ash, etc.

Capabilities:

- Provides early warning of filter failure

- Can be used for predictive maintenance and compliance reporting

Optional Accessories:

- Remote display panel

- Sensor extension cable

- Air purge system for high-dust environments