### Monitor Diaphragm Switch

Product Overview:
Monitor’s Diaphragm Switch is a cost-effective, pressure-sensitive level switch for high or low point level detection in bins, hoppers, and silos. Designed for simple, rugged performance, it’s ideal for free-flowing, dry bulk solids and coarse materials.

3 Key Features:

- Pressure-sensitive mechanical switch

- No power required for operation

- Simple, rugged design for reliable performance

Technical Specifications:

- Operation: Mechanical (pressure on diaphragm)

- Mounting: External or internal flange

- Switch Type: SPDT (mechanical contact)

- Process Temp: -40°C to +65°C

- Pressure Rating: Atmospheric to 15 psi

Applications & Industry Use-Cases:

- High or low level alert in grain, cement, plastics, and coal silos

- Ideal for dusty or hazardous locations

- Suitable for remote or off-grid sites

Media Compatibility:

- Free-flowing dry solids like grains, plastic pellets, powders

Capabilities:

- Reliable switching with no electronics

- Long service life with minimal maintenance

- Low-cost level detection solution

Optional Accessories:

- Weatherproof enclosures

- High-temp or explosion-proof models

- Flexible diaphragm covers