### Monitor KAX Rotary Paddle Switch

Product Overview:
The Monitor KAX Rotary Paddle Switch is a heavy-duty point level switch ideal for monitoring dry bulk solids in bins, hoppers, and silos. With its time-proven rotating paddle technology, it detects the presence or absence of material with precision, even in dusty or hazardous environments.

3 Key Features:

- Explosion-proof design (Class II, Groups E, F, G)

- Adjustable shaft and paddle configurations

- Rugged motor-driven detection

Technical Specifications:

- Operation: Motor-driven rotary paddle

- Power Supply: 115/230 VAC or 24 VDC

- Output: SPDT Relay

- Process Temp: -40°C to +70°C

- Torque sensing for material presence

Applications & Industry Use-Cases:

- Grain, cement, plastic pellets, or feed in storage silos

- High or low-level detection in dusty or explosive zones

- Suitable for bulk material handling and process systems

Media Compatibility:

- Free-flowing dry solids and powders

Capabilities:

- Stops rotating when material impedes paddle

- Reliable in high-dust environments

- Shaft extensions and paddle options for varying bin sizes

Optional Accessories:

- Flexible shaft extensions

- Paddle styles for light or dense materials

- Weatherproof or high-temp housings