### Monitor Safepoint Rotary Paddle Switch

Product Overview:
The Monitor Safepoint Rotary Paddle Switch offers advanced fail-safe operation for critical high- or low-level indication in bins, hoppers, and silos. It combines rotary paddle technology with microcontroller-based monitoring, ensuring superior reliability and self-validation in demanding bulk solid applications.

3 Key Features:

- Automatic self-diagnostics

- Red LED for high visibility

- Fail-safe operation with alarm output

Technical Specifications:

- Power Supply: 115/230 VAC or 24 VDC

- Output: SPDT relay (status + alarm)

- Process Temp: -40°C to +70°C

- Certifications: CSA, ATEX, CE

- Mounting: Side, top, or extended shaft

Applications & Industry Use-Cases:

- Cement, grain, flour, plastic pellets, chemicals

- Mission-critical level indication in hazardous zones

- Applications where uninterrupted operation is essential

Media Compatibility:

- Free-flowing powders, pellets, granules, and flakes

Capabilities:

- Monitors motor rotation, power, and torque

- Emits alarm on loss of rotation or power failure

- Compatible with both standard and explosion-proof environments

Optional Accessories:

- Shaft extensions and custom paddles

- Dust-tight or explosion-proof enclosures

- Indicator lights and test switches