### Monitor Solids Flow Detection

Product Overview:
Monitor’s Solids Flow Detectors provide non-intrusive and highly sensitive detection of bulk solid materials in pneumatic and gravity-fed systems. Ideal for confirming flow/no-flow conditions to ensure continuous process performance.

3 Key Features:

- Non-intrusive detection technology

- Adjustable sensitivity range

- Wide variety of material compatibility

Technical Specifications:

- Detection Type: Microwave Doppler or Piezoelectric

- Output: Relay contact (SPDT)

- Power Supply: 24 VDC or 110/220 VAC

- Operating Temp: -40°C to +80°C

- Mounting: External to pipe, chute, or duct

Applications & Industry Use-Cases:

- Flow confirmation in pneumatic conveying lines

- Gravity chute monitoring in cement, plastics, food, and chemical industries

- Plug and blockage detection

Media Compatibility:

- Powders, granules, pellets, flakes, and other bulk solids

Capabilities:

- Prevents costly downtime from line blockages

- Ensures materials are moving at critical process points

Optional Accessories:

- Air purge connection

- Custom mounting brackets

- Remote signal transmitter