### Monitor Tilt Switch

Product Overview:
The Monitor Tilt Switch is designed for point-level detection in bulk material storage applications. It activates when the device tilts from its normal vertical position, making it ideal for high-level detection where contact with material causes displacement.

3 Key Features:

- No moving mechanical parts

- Simple, cost-effective detection

- Adjustable tilt angle

Technical Specifications:

- Sensing Angle: Typically 15° to 25° from vertical

- Output: SPDT switch

- Enclosure: Epoxy-coated or explosion-proof options

- Mounting: Cable or rigid conduit

Applications & Industry Use-Cases:

- Detecting high levels in silos, hoppers, or chutes

- Monitoring conveyor overloading or blockage

- Ideal for irregular-shaped bins and mobile containers

Media Compatibility:

- Powdered, granular, or lumpy bulk solids

Capabilities:

- Reliable actuation through physical tilt

- Operates in harsh, dusty environments

- Suitable for outdoor or mobile system installations

Optional Accessories:

- Protective guards

- Mounting brackets or conduit extensions

- Visual/audible alarms on tilt detection