### Monitor VibraRod Vibratory Probe

Product Overview:
The Monitor VibraRod Vibratory Probe is a piezoelectric, single-rod level sensor designed to provide reliable point level detection of bulk solids. It eliminates false alarms caused by material build-up, bridging, or sidewall accumulation, making it ideal for a wide range of dry materials.

3 Key Features:

- Self-cleaning single rod design

- No calibration required

- Built-in fail-safe circuitry

Technical Specifications:

- Power Supply: 115/230 VAC or 24 VDC

- Output: SPDT relay

- Probe Length: 6" standard, extensions up to 13 feet

- Enclosure: NEMA 4X, IP66, Explosion-proof options available

Applications & Industry Use-Cases:

- High, intermediate, or low level detection in bins, hoppers, and silos

- Cement, grains, plastics, food products, and chemicals

- Ideal for materials with varying dielectric properties

Media Compatibility:

- Free-flowing powders, grains, and granular solids

Capabilities:

- Detects presence or absence of material via vibration dampening

- Designed to minimize false readings due to buildup or bridging

- Functions in high dust and vibration environments

Optional Accessories:

- Extension kits

- Remote electronics housing

- High-temperature probes