Valbia Electric Actuator Series — Full Variant Coverage

Product Overview

Valbia’s Electric Actuator lineup offers compact, durable, and versatile solutions for automating quarter-turn valves across multiple industries. These actuators are built for precision, safety, and long service life, with easy integration using ISO-standard mounting and optional advanced drive modes.

Model Families & Variants

- Standard “85 Series” (Plastic Housing)

  - Models: VB015, VB030, VB060, VB110, VB190, VB270, VB350

  - Key: Basic ON/OFF operation, electromechanical torque limiting, manual override

- Enhanced “86 Series – M Variants” (Aluminum Housing, IP67)

  - Models: VB015M, VB030M, VB060M, VB110M, VB190M, VB270M, VB350M

  - Added Benefits:

    - Built-in heater and improved sealing

    - Optional modulating drive (0–10 V / 4–20 mA)

    - Battery-based failsafe (NiMH) — auto-close on power loss

3 Key Features (All Variants)

- Full range from micro to high-torque options (VB015 to VB350)

- Built-in heater to prevent moisture, with LED and auxiliary fault signals

- Manual override with handwheel included

Typical Specifications (VB015 Example)

- Torque: ~15 Nm

- Rotation Time: ~10 seconds for 0°–90°

- Supply Voltage Range: Multi-voltage (12–24 V DC/AC, 100–240 V AC)

- Manual Override: Handwheel (external, with position indicator)

- Feedback: Limit switches for end-of-travel (voltage-free contacts)

- Duty Cycle & Environment: Ambient −20 °C to +55 °C; continuous duty, IP protection as per model

Applications & Use Cases

- Automating ball and butterfly valves in industrial, HVAC, water, marine, and energy sectors

- Retrofitting valve automation for quick shutoff or tight spaces

- Critical safety systems using failsafe variants

- Process control loops requiring modulating valve actuation

Core Capabilities

- ISO 5211 mounting for universal valve compatibility

- Configurable rotation and position feedback

- Robust design with self-lubricating gearing

- High-cycle reliability with low maintenance

Optional Accessories & Upgrades

- Failsafe Battery Module for emergency shut-off

- Analog Input Module for modulating actuation

- Position Feedback Options (potentiometer or limit switch kits)

- Extended Rotation Kits (up to 270°)

- Bus Communications (e.g. Modbus, CAN) on request

- Customized Supply Voltage or Approval Packages available